## Rationalised Cost
Year | Rationalised Cost
1991-1992 | 26.69 | CERC orders
1992-1993 | 30.815 | (Average of 1991-92 & 93-94)
1993-1994 | 34.94 | CERC orders
1994-1995
1995-1996
1996-1997 | 38.2 | APERC orders for 2018-19
1997-1998
1998-1999 | 17.54 | CERC orders
1999-2000 | 20.71 | CERC orders
2000-2001 | 54.57 | CERC orders
2001-2002 | 44.28 | CERC orders
2002-2003 | 34 | CERC orders
2003-2004 | 30.6 | (Average of 2002-03 & 04-05)
2004-2005 | 27.2 | CERC orders
2005-2006 | 40.33 | APERC orders for 2018-19 | 40.3269
2006-2007 | 42.53 | CERC orders
2007-2008 | 47.04 | CERC orders
2008-2009 | 47.74 | (Average of 2007-08 & 09-10)
2009-2010 | 48.44 | CERC orders
2010-2011 | 52.26 | CERC orders
2011-2012 | 62.2749 | Cagr 0f 5.17%
2012-2013 | 65.67 | CERC orders
2013-2014 | 94.67 | CERC orders

## Total YTC
Sl. No. | Asset | Voltage | Configuration | Length in KM | COD | Sl. No. as per SRPC certification | Asset Name | YTC
1 | CHITTOOR 42 - CHITTOOR 1:2 | 220 | D/C | 17.1 | 14.02.2006 | 1 | Asset I & II | 236.53
2 | CHITTOOR 42 - CHITTOOR 1:1 | 220 |  |  |  | 2
3 | SULURPET 1 - NELLORE 42:1 | 220 | S/C | 85.8 | 26.12.2006 | 4 | Asset III | 260.84
4 | GOOTY - PG - DHONE 1:2 | 220 | D/C | 90.16 | 24.08.2011 | 6 | Asset IV & V | 662.12
5 | GOOTY - PG - DHONE 1:1 | 220 |  |  |  | 7
6 | KONDAPALLI-CHILLAKALLU1:1 | 220 | D/C | 59.7 | 30.09.1989 | 8 | Asset VI & VII | 177.02
7 | KONDAPALLI-CHILLAKALLU1:2 | 220 |  |  |  | 9
8 | SRISAILAMRB1-TALLAPLLI:1 | 220 | D/C | 98.82 | 1985 | 10 | Asset VIII & IX | 233.07
9 | SRISAILAMRB1-TALLAPLLI:2 | 220 |  |  |  | 11
10 | SRISAILAMRB1-SOMYZULPALLI:1 | 220 | S/C | 106 | 1985 | 12 | Asset X | 126.75
11 | TALLAPLLI-VTS1:1 | 220 | S/C | 133 | 30.06.1984 | 13 | Asset XI | 144.71
12 | TALLAPLLI-VTS1:3 | 220 | D/C | 137.25 | 17.10.2012 | 14 | Asset XII & XIII | 1118.2
13 | TALLAPLLI-VTS1:2 | 220 |  |  |  | 15
14 | VTS1-CHILAAKALLU1:2 | 220 | D/C | 67.8 | 12.03.1997 | 16 | Asset XIV & XV | 323.69
15 | VTS1-CHILAAKALLU1:1 | 220 |  |  |  | 17
16 | VTS1-RENTACHNTHALA1:2 | 220 | S/C | 111.49 | 30.06.1984 | 18 | Asset XVI | 150.33
17 | KURNOOL1-BRAHMANKTKUR:1 | 220 | S/C | 23.18 | 29.10.2010 | 19 | Asset XVII | 147.26
18 | GAZUWAKA2-KALPAKKA1:2 | 400 | D/C | 3.39 | 10.12.2000 | 28 | Asset - XVIII & XIX | 186.27
19 | GAZUWAKA2-KALPAKKA1:1 | 400 |  |  | 27.01.2002 | 29
20 | SULURPET 1 - NELLORE 42:2 | 220 | D/C | 68.13 | 10.11.2014 | 3 | Asset - XX & XXI | 1115.34
21 | SULURPET 1 - NELLORE 42:3 | 220 |  |  |  | 5
22 | URAVAKONDA-VAJRAKARUR:2 | 220 | D/C | 16.826 | 14.07.2016 | 22 | Asset - XXII & XXIII | 506.57
23 | URAVAKONDA-VAJRAKARUR:1 | 220 |  |  |  | 23
24 | HINDUJA- KV KOTA1:2 | 400 | D/C ACSR Twin Moose | 242.98 | 24.07.2017 | 31 | Asset - XXIV & XXV | 7087.21
25 | HINDUJA- KV KOTA1:1 | 400 |  |  |  | 32
26 | JAMALAMADUGU1-URAVAKONDA:2 | 400 | D/C | 127.62 | 15.07.2016 | 33 | Asset - XXVI | 3340.22
27 | JAMALAMADUGU1-URAVAKONDA:1 | 400 |  |  |  | 34 | Asset - XXVII
28 | CHITTOOR2-KALIKIRI1:1 | 400 | D/C ACSR Twin Moose | 96.87 | 01.04.2018 | 24 | Asset - XXVIII & XXIX | 5562.81
29 | CHITTOOR2-KALIKIRI1:2 | 400 |  |  |  | 25
30 | REGULAPADU-SUZLON-W1:1 | 220 | D/C | 5.129 | 31.03.2012 | 20 | Asset - XXX & XXXI | 38.93
31 | SUZLON-W1-VAJRAKUR:1 | 220 |  | 5.2 | 12.08.2016 | 21
32 | NUNNA2-VEMAGIRI1:1 | 400 | SC/DC | 145 | 30.12.2005 | 26 | Asset - XXXII | 4065.49
33 | NUNNA2- SATTENAPALLI1:1 | 400 | SC/DC | 115.89 | 12.10.2015 | 27 | Asset - XXIII
34 | VEMAGIRI1-SATTENAPALLI:1 | 400 | SC/DC | 244.85 | 12.10.2015 | 30 | Asset - XXXIV
[7 empty] | Total | 25483.36

## PTR capacity
Calculation of PTR capacity alloted to Non-ISTS lines
Sl.no. | Name of the Non-ISTS Line | Voltage Level | Configuration | PTRs Capacity at From end | Total connected feeders at from end | Allocated PTR capacity to certified line at from end | From end substation KV | Norms for PTR(Rs Lakhs per MVA) | O&M charges for allocated PTR capacity to certified line at from end | PTRs Capacity at To end | Total connected feeders at To end | Allocated PTR capacity to certified line at To end | From end substation KV | Norms for PTR(Rs Lakhs per MVA) | O&M charges for allocated PTR capacity to certified line at from end | TotalAllocated O&M charges for PTR capacity to certified line from end to To end(in lakhs)
1 | CHITTOOR 42 - CHITTOOR 1:2 | 220 | D/C | 3*315 | 6 | 157.5 | 400/220 | 0.358 | 56.385 | 2*100+1*160 | 4 | 90 | 220/132 | 0.245 | 22.05 | 78.435
2 | CHITTOOR 42 - CHITTOOR 1:1 | 220
3 | SULURPET 1 - NELLORE 42:1 | 220 | S/C | 3*100 | 4 | 37.5 | 220/132 | 0.245 | 9.1875 | 3*315+3*100 | 8 | 77.8125 | 400/220/132 | 0.358 | 27.8569 | 37.0444
4 | GOOTY - PG - DHONE 1:2 | 220 | D/C | Switching Station | [5 empty] | Switching Station | [5 empty] | 0
5 | GOOTY - PG - DHONE 1:1 | 220
6 | KONDAPALLI-CHILLAKALLU1:1 | 220 | D/C | 2*100+1*160 | 6 | 60 | 220/132 | 0.245 | 14.7 | 3*100 | 6 | 50 | 220/132 | 0.245 | 12.25 | 26.95
7 | KONDAPALLI-CHILLAKALLU1:2 | 220
8 | SRISAILAMRB1-TALIAPLLI:1 | 220 | D/C | 7*127.5+100 | 10 | 188.5 | 220/132 | 0.245 | 46.1825 | Switching Station | [5 empty] | 46.1825
9 | SRISAILAMRB1-TALIAPLLI:2 | 220
10 | SRISAILAMRB1-SOMYZULPALLI:1 | 220 | S/C | 7*127.5+100 | 10 | 94.25 | 220/132 | 0.245 | 23.0912 | Switching Station | [5 empty] | 23.0912
11 | TALLAPLLI-VTPS1:1 | 220 | D/C | Switching Station | [5 empty] | 245*6+315 | 13 | 125.1923 | 220 | 0.245 | 30.6721 | 30.6721
12 | TALLAPLLI-VTPS1:2 | 220 | D/C | Switching Station | [5 empty] | 245*6+315 | 13 | 250.3846 | 220 | 0.245 | 61.3442 | 61.3442
13 | TALLAPLLI-VTPS1:3 | 220
14 | VTS1-CHILAAKALLU1:2 | 220 | D/C | 245*6+315 | 13 | 250.3846 | 220 | 0.245 | 61.3442 | 3*100 | 6 | 50 | 220 | 0.245 | 12.25 | 73.5942
15 | VTS1-CHILAAKALLU1:1 | 220
16 | VTS1-RENTACHNTHALA1:2 | 220 | D/C | 245*6+315 | 13 | 125.1923 | 220 | 0.245 | 30.6721 | 2*100 | 2 | 50 | 220/132 | 0.245 | 12.25 | 42.9221
17 | KURNOOL1-BRAHMANKTKUR:1 | 220 | S/C | 2*315 | 6 | 52.5 | 400/220 | 0.358 | 18.795 | 3*25 | 4 | 9.375 | 220/11 | 0.245 | 2.2969 | 21.0919
18 | REGULAPADU-SUZLON-W1:1 | 220 | S/C | 3*25 | 3 | 25 | 220/11 | 0.245 | 6.125 | WIND GENERATOR | [5 empty] | 6.125
19 | NUNNA2-VEMAGIRI1:1 | 400 | S/C | PGCIL | [5 empty] | 3*315 | 13 | 36.3462 | 400/220 | 0.358 | 13.0119 | 13.0119
20 | GAZUWAKA2-KALPAKKA1:2 | 400 | D/C TM | PGCIL | [5 empty] | 3*315 | 12 | 39.375 | 400/220 | 0.358 | 14.0962 | 14.0962
21 | GAZUWAKA2-KALPAKKA1:1 | 400 | D/C TM | PGCIL | [5 empty] | 3*315 | 12 | 39.375 | 400/220 | 0.358 | 14.0962 | 14.0962
22 | SULURPET 1 - NELLORE 42:2 | 220 | D/C | 3*100 | 4 | 75 | 220/132 | 0.245 | 18.375 | 3*315+3*100 | 8 | 155.625 | 400/220/132 | 0.358 | 55.7137 | 74.0888
23 | SULURPET 1 - NELLORE 42:3 | 220
24 | SUZLON-W1-VAJRAKUR:1 | 220 | D/C | WIND GENERATOR |  |  |  |  | 0 | 100 | 3 | 16.6667 | 220/132 | 0.245 | 4.0833 | 4.0833
25 | URAVAKONDA-VAJRAKARUR:2 | 220 | D/C | 3*315+1*500 | 14 | 103.2143 | 400/220 | 0.358 | 36.9507 | 100 | 3 | 33.3333 |  | 0.245 | 8.1667 | 45.1174
26 | URAVAKONDA-VAJRAKARUR:1 | 220 | [10 empty] | 220/132
27 | CHITTOOR2-KALIKIRI1:1 | 400 | D/C | 3*315 | 6 | 157.5 |  | 0.358 | 56.385 | 2*315 | 4 | 157.5 | 400/220 | 0.358 | 56.385 | 112.77
28 | CHITTOOR2-KALIKIRI1:2 | 400 | D/C |  |  |  | 400/220
29 | NUNNA2- SATTENAPALLI1:1 | 400 | S/C | PGCIL | PGCIL | 0 |  |  | 0 | 3*315 | 6 | 78.75 | 400/220 | 0.358 | 28.1925 | 28.1925
30 | VEMAGIRI1-SATTENAPALLI:1 | 400 | S/C | 3*315 | 13 | 36.3462 | 400/220 | 0.358 | 13.0119 | 3*315 | 6 | 78.75 | 400/220 | 0.358 | 28.1925 | 41.2044
31 | HINDUJA- KV KOTA1:2 | 400 | D/C | IPP | 4 | 0 |  |  |  | 2*315 | 6 | 105 | 400/220 |  | 37.59 | 37.59
32 | HINDUJA- KV KOTA1:1 | 400 | D/C | [10 empty] | 0.358
33 | JAMALAMADUGU1-URAVAKONDA:2 | 400 | D/C QM | 2*315 | 4 | 157.5 |  |  | 56.385 | 3*315+1*500 | 4 | 361.25 | 400/220 |  | 129.3275 | 185.7125
34 | JAMALAMADUGU1-URAVAKONDA:1 | 400 | D/C QM |  |  |  | 400/220 | 0.358 | [5 empty] | 0.358
Note:- AS the Power Transformers are meant for transmitting the power between the feeders connected to HV & LV side , the total transformer capacity is shared 50 : 50 between the feeders connected to HV & LV side in the substation.
315

## Assumptions
Year | 2019-03-31
| 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24
Tax | 34.94% | 34.94% | 34.94% | 34.94% | 34.94%
RoE | 23.82% | 23.83% | 23.83% | 23.83% | 23.83%
Debt | 70%
Equity | 30%
Depreciation | 5.28% |  |  |  | 5.28 | 12 | 63.36 | 63
Depreciation after | 2.049% | 12 |  |  | 2.0492 | 13 | 26.64 | 27
Total Depreciation allowed | 90%
Rate of interest Assumed | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24
| 9.98% | 9.98% | 9.98% | 9.98% | 9.98%
IWC Assumptions
Maintenance Spares | 15% | of O&M
O&M Expenses | 1 | month
Receivables | 1.5 | month
Interest of Working Capital | 12.05%
Norms as per CERC regulation
AC lines (Rs Lakhs per KM) | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24
Single Circuit (Twin & Triple Conductor) | 0.503 | 0.521 | 0.539 | 0.558 | 0.578
Double Circuit (Twin & Triple Conductor) | 0.881 | 0.912 | 0.944 | 0.977 | 1.011
SubStation Bays (Rs. Lakhs per bay)
400 KV | 32.15 | 33.28 | 34.45 | 35.66 | 36.91
220 KV | 22.51 | 23.3 | 24.12 | 24.96 | 25.84
132 KV and below | 16.08 | 16.64 | 17.23 | 17.83 | 18.46
Transformers (Rs. Lakhs per MVA)
400 KV | 0.358 | 0.371 | 0.384 | 0.398 | 0.411
220 KV | 0.245 | 0.254 | 0.263 | 0.272 | 0.282
132 KV and below | 0.245 | 0.254 | 0.263 | 0.272 | 0.282

## No. of bays
Toatl YTC for FY 2019-20 of Intra-State lines (APTRANSCO) carrying Inter-state power
| Sl.no. |  | Line | Voltage Level | Configuration | Length in Km | DOC | Rationalised Cost | Multiplication Factor | Gross Block | No. of years | No.of Bays
| 1 | Asset - I | CHITTOOR 42 - CHITTOOR 1:2 | 220 | D/C | 17.1 | 2006-02-14 | 47.54 | 0.57 | 463.3724 | 13.1306 | 4
| 2 | Asset - II | CHITTOOR 42 - CHITTOOR 1:1 | 220
| 3 | Asset - III | SULURPET 1 - NELLORE 42:1 | 220 | S/C | 85.8 | 2006-12-26 | 42.53 | 0.36 | 1313.6666 | 12.2639 | 2
| 4 | Asset - IV | GOOTY - PG - DHONE 1:2 | 220 | D/C | 90.16 | 2011-08-24 | 62.27 | 0.57 | 3200.13 | 7.6028 | 4
| 5 | Asset - V | GOOTY - PG - DHONE 1:1 | 220
| 6 | Asset - VI | KONDAPALLI-CHILLAKALLU1:1 | 220 | D/C | 59.7 | 1989-09-30 | 0 | 0.57 | 0 | 29.5 | 4
| 7 | Asset - VII | KONDAPALLI-CHILLAKALLU1:2 | 220
| 8 | Asset - VIII | SRISAILAMRB1-TALIAPLLI:1 | 220 | D/C | 98.82 | 1985-01-01 | 0 | 0.57 | 0 | 34.25 | 4
| 9 | Asset - IX | SRISAILAMRB1-TALIAPLLI:2 | 220
| 10 | Asset - X | SRISAILAMRB1-SOMYZULPALLI:1 | 220 | S/C | 106 | 1985-01-01 | 0 | 0 | 0 | 34.25 | 2
| 11 | Asset - XI | TALLAPLLI-VTPS1:1 | 220 | S/C | 133 | 1984-06-30 | 0 | 0.36 | 0 | 34.75 | 2
| 12 | Asset - XII | TALLAPLLI-VTPS1:2 | 220 | D/C | 137.252 | 2012-10-17 | 65.67 | 0.57 | 5137.6031 | 6.4556 | 4
| 13 | Asset - XIII | TALLAPLLI-VTPS1:3 | 220
| 14 | Asset - XIV | VTS1-CHILAAKALLU1:2 | 220 | D/C | 67.8 | 1997-03-12 | 38.2 | 0.57 | 1476.2772 | 22.0528 | 4
| 15 | Asset - XV | VTS1-CHILAAKALLU1:1 | 220
| 16 | Asset - XVI | VTS1-RENTACHNTHALA1:2 | 220 | S/C | 111.49 | 1984-06-30 | 0 | 0.36 | 0 | 34.75 | 2
| 17 | Asset - XVII | KURNOOL1-BRAHMANKTKUR:1 | 220 | S/C | 23.112 | 2010-10-29 | 52.26 | 0.36 | 434.8199 | 8.4222 | 2
| 18 | Asset - XVIII | REGULAPADU-SUZLON-W1:1 | 220 | S/C | 5.129 | 2012-03-31 | 62.27 | 0.36 | 114.9778 | 7 | 1
| 19 | Asset - XIX | GAZUWAKA2-KALPAKKA1:2 | 400 | D/C TM | 3.39 | 2002-01-27 | 44.28 | 1.39 | 208.6518 | 17.1778 | 4
| 20 | Asset - XX | GAZUWAKA2-KALPAKKA1:1 | 400 |  |  | 2000-12-10 |  |  |  | 18.3083
| 21 | Asset - XXI | NUNNA2-VEMAGIRI1:1 | 400 | S/C | 140 | 2005-12-30 | 40.33 | 1 | 5646.2 | 13.25 | 2
| 22 | Asset - XXII | NUNNA2- SATTENAPALLI1:1 | 400 | D/C | 107.98 | 2015-10-12 |  |  |  | 3.4694
| 23 | Asset - XXIII | VEMAGIRI1-SATTENAPALLI:1 | 400 |  | 107.98 | 2015-10-26 |  |  |  | 3.4306
| 24 | Asset - XXIV | SULURPET 1 - NELLORE 42:2 | 220 | D/C | 68.1 | 2014-11-10 |  |  |  | 4.3917 | 4
| 25 | Asset - XXV | SULURPET 1 - NELLORE 42:3 | 220
| 26 | Asset - XXVI | SUZLON-W1-VAJRAKUR:1 | 220 | S/C | 5.2 | 2016-08-12 |  |  |  | 2.6361 | 1
| 27 | Asset - XXVII | URAVAKONDA-VAJRAKARUR:2 | 220 | D/C | 16.826 | 2017-01-25 |  |  |  | 2.1833 | 4
| 28 | Asset - XXVIII | URAVAKONDA-VAJRAKARUR:1 | 220 |  |  | 2016-07-14 |  |  |  | 2.7139
| 29 | Asset - XXIX | CHITTOOR2-KALIKIRI1:1 | 400 | D/C | 40.46 | 2018-04-01 |  |  |  | 1 | 6
| 30 | Asset - XXX | CHITTOOR2-KALIKIRI1:2 | 400 |  |  | 2018-03-31 |  |  |  | 1
| 31 | Asset - XXXI | HINDUJA- KV KOTA1:2 | 400 | D/C | 242.928 | 2017-07-24 |  |  |  | 1.6861 | 3
| 32 | Asset - XXXII | HINDUJA- KV KOTA1:1 | 400
| 33 | Asset - XXXIII | JAMALAMADUGU1-URAVAKONDA:2 | 400 | D/C QM | 127.62 | 2016-07-15 |  |  |  | 2.7111 | 6
| 34 | Asset - XXXIV | JAMALAMADUGU1-URAVAKONDA:1

## Asset I & II
Annexure - III
Name of the Tr. System: | Asset-I and II | CHITTOOR 42 - CHITTOOR 1:2 & CHITTOOR 42 - CHITTOOR 1:1
|  | COD: | 2006-02-14
CALCULATION OF ANNUAL TRANSMISSION CHARGES
(Rs. In lacs)
Rationalised cost of 400 kv line Rs lakh per ckt km | 47.54 | Life in years | 25
Transmission Line length in km | 17.1 | Voltage, kV | 220 kV D/C
Multiplication factor | 0.57
FY 2019-20
Gross Block |  |  | 463.3724
Addition during 2014-19 due to Projected Additional Capitalisation |  |  | 0
Gross Block total |  |  | 463.3724
Average Gross Block |  |  | 463.3724
Depreciation
Rate of Depreciation(%) |  |  | 2.049%
Depreciable value |  | 0.9 | 417.0351
Elapsed Life as on 31.03.2019 |  |  | 13
Balance useful life of the asset |  |  | 12
Remaining Depreciable value |  |  | 113.9468
Cumulative Depreciation |  |  | 303.0883
Depreciation |  |  | 9.4956
Interest on Loan
Gross Normative Loan |  |  | 324.3607
Cumulative Repayment upto Previous Year |  |  | 303.0883
Net Loan-Opening |  |  | 21.2724
Addition due to Additional Capitalisation |  |  | 0
Repayment during the year |  |  | 9.4956
Net Loan-Closing |  |  | 11.7768
Average Loan |  |  | 16.5246
Weighted Average Rate of Interest on Loan (%) |  |  | 9.98%
Interest |  |  | 1.6492
Return on Equity
Gross Notional Equity |  |  | 139.0117
Opening Equity |  |  | 139.0117
Average Equity |  |  | 139.0117
Rate of Return on Equity |  |  | 23.82%
Return on Equity |  |  | 33.1184
Interest on Working Capital
Maintenance Spares | 15% of O&M |  | 27.5318
O & M expenses | 1 Months |  | 15.2954
Receivables | 1.5 Months |  | 29.568 | 29.5688
Total |  |  | 72.3952
Interest | 12.05% |  | 8.7236
Annual Transmission Charges
Depreciation |  |  | 9.4956
Interest on Loan |  |  | 1.6492
Return on Equity |  |  | 33.1184
Interest on Working Capital |  |  | 8.7236
O & M Expenses | 4 Bays, 248 MVA PTR capacity and 17.10 KM line |  | 183.5451
Total |  |  | 236.5318
Norms for O&M Per Bay | 220 kV |  | 22.51
Norms for O&M Per Km | D/C |  | 0.881
Norms for O&M Per MVA (PTR) | 220 kV |  | 0.245
Note:- To calculate utilisation of PTR's capacity in MVA for each feeder, Total Sub Station PTR's capacity is divided to all the feeders connected at that Voltage level.

## Asset III
Annexure - IV
Name of the Tr. System: | Asset-III | SULURPET 1 - NELLORE 42:1
|  | COD: | 2006-12-26
CALCULATION OF ANNUAL TRANSMISSION CHARGES
(Rs. In lacs)
Rationalised cost of 400 kv line Rs lakh per ckt km | 42.53 | Life in years | 25
Transmission Line length in km | 85.8 | Voltage, kV | 220 kV S/C
Multiplication factor | 0.36
FY 2019-20
Gross Block |  |  | 1313.6666
Addition during 2014-19 due to Projected Additional Capitalisation |  |  | 0
Gross Block total |  |  | 1313.6666
Average Gross Block |  |  | 1313.6666
Depreciation
Rate of Depreciation(%) |  |  | 2.049%
Depreciable value |  | 0.9 | 1182.3
Elapsed Life as on 31.03.2019 |  |  | 12
Balance useful life of the asset |  |  | 13
Remaining Depreciable value |  |  | 349.9608
Cumulative Depreciation |  |  | 832.3392
Depreciation |  |  | 26.9201
Interest on Loan
Gross Normative Loan |  |  | 919.5666
Cumulative Repayment upto Previous Year |  |  | 832.3392
Net Loan-Opening |  |  | 87.2275
Addition due to Additional Capitalisation |  |  | 0
Repayment during the year |  |  | 26.9201
Net Loan-Closing |  |  | 60.3074
Average Loan |  |  | 73.7674
Weighted Average Rate of Interest on Loan (%) |  |  | 9.98%
Interest |  |  | 7.362
Return on Equity
Gross Notional Equity |  |  | 394.1
Opening Equity |  |  | 394.1
Average Equity |  |  | 394.1
Rate of Return on Equity |  |  | 23.82%
Return on Equity |  |  | 93.891
Interest on Working Capital
Maintenance Spares | 15% of O&M |  | 18.7826
O & M expenses | 1 Months |  | 10.4348
Receivables | 1.5 Months |  | 32.6063 | 32.6063
Total |  |  | 61.8236
Interest | 12.05% |  | 7.4497
Annual Transmission Charges
Depreciation |  |  | 26.9201
Interest on Loan |  |  | 7.362
Return on Equity |  |  | 93.891
Interest on Working Capital |  |  | 7.4497
O & M Expenses | 2 Bays, 115 MVA PTR capacity and 85.8 KM line |  | 125.2174
Total |  |  | 260.8402
Norms for O&M Per Bay | 220 kV |  | 22.51
Norms for O&M Per Km | S/C |  | 0.503
Norms for O&M Per MVA (PTR) | 220 kV |  | 0.245
Note:- To calculate utilisation of PTR's capacity in MVA for each feeder, Total Sub Station PTR's capacity is divided to all the feeders connected at that Voltage level.

## Asset IV & V
Annexure - V
Name of the Tr. System: | Asset- IV and V | GOOTY - PG - DHONE 1:2 & GOOTY - PG - DHONE 1:1
|  | COD: | 2011-08-24
CALCULATION OF ANNUAL TRANSMISSION CHARGES
(Rs. In lacs)
Rationalised cost of 400 kv line Rs lakh per ckt km | 62.27 | Life in years | 25
Transmission Line length in km | 90.16 | Voltage, kV | 220 kV D/C
Multiplication factor | 0.57
FY 2019-20
Gross Block |  |  | 3200.13
Addition during 2014-19 due to Projected Additional Capitalisation |  |  | 0
Gross Block total |  |  | 3200.13
Average Gross Block |  |  | 3200.13
Depreciation
Rate of Depreciation(%) |  |  | 5.28%
Depreciable value |  | 0.9 | 2880.117
Elapsed Life as on 31.03.2019 |  |  | 8
Balance useful life of the asset |  |  | 17
Remaining Depreciable value |  |  | 1528.3821
Cumulative Depreciation |  |  | 1351.7349
Depreciation |  |  | 168.9669
Interest on Loan
Gross Normative Loan |  |  | 2240.091
Cumulative Repayment upto Previous Year |  |  | 1351.7349
Net Loan-Opening |  |  | 888.3561
Addition due to Additional Capitalisation |  |  | 0
Repayment during the year |  |  | 168.9669
Net Loan-Closing |  |  | 719.3892
Average Loan |  |  | 803.8727
Weighted Average Rate of Interest on Loan (%) |  |  | 9.98%
Interest |  |  | 80.2265
Return on Equity
Gross Notional Equity |  |  | 960.039
Opening Equity |  |  | 960.039
Average Equity |  |  | 960.039
Rate of Return on Equity |  |  | 23.82%
Return on Equity |  |  | 228.7213
Interest on Working Capital
Maintenance Spares | 15% of O&M |  | 25.4206
O & M expenses | 1 Months |  | 14.1226
Receivables | 1.5 Months |  | 82.768 | 82.7687
Total |  |  | 122.3112
Interest | 12.05% |  | 14.7385
Annual Transmission Charges
Depreciation |  |  | 168.9669
Interest on Loan |  |  | 80.2265
Return on Equity |  |  | 228.7213
Interest on Working Capital |  |  | 14.7385
O & M Expenses | 4 Bays, 0 MVA PTR capacity and 90.16 KM line |  | 169.471
Total |  |  | 662.1241
Norms for O&M Per Bay | 220 kV |  | 22.51
Norms for O&M Per Km | D/C |  | 0.881
Norms for O&M Per MVA (PTR) | 220 kV |  | 0.245
Note:- To calculate utilisation of PTR's capacity in MVA for each feeder, Total Sub Station PTR's capacity is divided to all the feeders connected at that Voltage level.

## Asset VI & VII
Annexure - VI
Name of the Tr. System: | Asset- VI and VII | KONDAPALLI-CHILLAKALLU1:1 & KONDAPALLI-CHILLAKALLU1:2
|  | COD: | 1989-09-30
CALCULATION OF ANNUAL TRANSMISSION CHARGES
(Rs. In lacs)
Rationalised cost of 400 kv line Rs lakh per ckt km | 0 | Life in years | 25
Transmission Line length in km | 59.7 | Voltage, kV | 220 kV D/C
Multiplication factor | 0.57
FY 2019-20
Gross Block |  |  | 0
Addition during 2014-19 due to Projected Additional Capitalisation |  |  | 0
Gross Block total |  |  | 0
Average Gross Block |  |  | 0
Depreciation
Rate of Depreciation(%) |  |  | 0%
Depreciable value |  | 0.9 | 0
Elapsed Life as on 31.03.2019 |  |  | 30
Balance useful life of the asset |  |  | 0
Remaining Depreciable value |  |  | 0
Cumulative Depreciation |  |  | 0
Depreciation |  |  | 0
Interest on Loan
Gross Normative Loan |  |  | 0
Cumulative Repayment upto Previous Year |  |  | 0
Net Loan-Opening |  |  | 0
Addition due to Additional Capitalisation |  |  | 0
Repayment during the year |  |  | 0
Net Loan-Closing |  |  | 0
Average Loan |  |  | 0
Weighted Average Rate of Interest on Loan (%) |  |  | 9.98%
Interest |  |  | 0
Return on Equity
Gross Notional Equity |  |  | 0
Opening Equity |  |  | 0
Average Equity |  |  | 0
Rate of Return on Equity |  |  | 23.82%
Return on Equity |  |  | 0
Interest on Working Capital
Maintenance Spares | 15% of O&M |  | 25.4379
O & M expenses | 1 Months |  | 14.1321
Receivables | 1.5 Months |  | 22.1288 | 22.1288
Total |  |  | 61.6987
Interest | 12.05% |  | 7.4347
Annual Transmission Charges
Depreciation |  |  | 0
Interest on Loan |  |  | 0
Return on Equity |  |  | 0
Interest on Working Capital |  |  | 7.4347
O & M Expenses | 4 Bays, 110 MVA PTR capacity and 59.7 KM line |  | 169.5857
Total |  |  | 177.0204
Norms for O&M Per Bay | 220 kV |  | 22.51
Norms for O&M Per Km | D/C |  | 0.881
Norms for O&M Per MVA (PTR) | 220 kV |  | 0.245
Note:- To calculate utilisation of PTR's capacity in MVA for each feeder, Total Sub Station PTR's capacity is devided to all the feeders connected at that Voltage level.

## Asset VIII & IX
Annexure - VII
Name of the Tr. System: | Asset-VIII and IX | SRISAILAMRB1-TALIAPLLI:1 & SRISAILAMRB1-TALIAPLLI:2
|  | COD: | 1985-01-01
CALCULATION OF ANNUAL TRANSMISSION CHARGES
(Rs. In lacs)
Rationalised cost of 400 kv line Rs lakh per ckt km | 0 | Life in years | 25
Transmission Line length in km | 98.82 | Voltage, kV | 220 kV D/C
Multiplication factor | 0.57
FY 2019-20
Gross Block |  |  | 0
Addition during 2014-19 due to Projected Additional Capitalisation |  |  | 0
Gross Block total |  |  | 0
Average Gross Block |  |  | 0
Depreciation
Rate of Depreciation(%) |  |  | 0%
Depreciable value |  | 0.9 | 0
Elapsed Life as on 31.03.2019 |  |  | 34
Balance useful life of the asset |  |  | 0
Remaining Depreciable value |  |  | 0
Cumulative Depreciation |  |  | 0
Depreciation |  |  | 0
Interest on Loan
Gross Normative Loan |  |  | 0
Cumulative Repayment upto Previous Year |  |  | 0
Net Loan-Opening |  |  | 0
Addition due to Additional Capitalisation |  |  | 0
Repayment during the year |  |  | 0
Net Loan-Closing |  |  | 0
Average Loan |  |  | 0
Weighted Average Rate of Interest on Loan (%) |  |  | 9.98%
Interest |  |  | 0
Return on Equity
Gross Notional Equity |  |  | 0
Opening Equity |  |  | 0
Average Equity |  |  | 0
Rate of Return on Equity |  |  | 23.82%
Return on Equity |  |  | 0
Interest on Working Capital
Maintenance Spares | 15% of O&M |  | 33.4921
O & M expenses | 1 Months |  | 18.6067
Receivables | 1.5 Months |  | 29.1363 | 29.1363
Total |  |  | 81.235
Interest | 12.05% |  | 9.7888
Annual Transmission Charges
Depreciation |  |  | 0
Interest on Loan |  |  | 0
Return on Equity |  |  | 0
Interest on Working Capital |  |  | 9.7888
O & M Expenses | 4 Bays, 189 MVA PTR capacity and 98.82 KM line |  | 223.2804
Total |  |  | 233.0692
Norms for O&M Per Bay | 220 kV |  | 22.51
Norms for O&M Per Km | D/C |  | 0.881
Norms for O&M Per MVA (PTR) | 220 kV |  | 0.245
Note:- To calculate utilisation of PTR's capacity in MVA for each feeder, Total Sub Station PTR's capacity is divided to all the feeders connected at that Voltage level.

## Asset X
Annexure -VIII
Name of the Tr. System: | Asset - X | SRISAILAMRB1-SOMYZULPALLI:1
|  | COD: | 1985-01-01
CALCULATION OF ANNUAL TRANSMISSION CHARGES
(Rs. In lacs)
Rationalised cost of 400 kv line Rs lakh per ckt km | 0 | Life in years | 25
Transmission Line length in km | 106 | Voltage, kV | 220 kV S/C
Multiplication factor | 0.36
FY 2019-20
Gross Block |  |  | 0
Addition during 2014-19 due to Projected Additional Capitalisation |  |  | 0
Gross Block total |  |  | 0
Average Gross Block |  |  | 0
Depreciation
Rate of Depreciation(%) |  |  | 0%
Depreciable value |  | 0.9 | 0
Elapsed Life as on 31.03.2019 |  |  | 34
Balance useful life of the asset |  |  | 0
Remaining Depreciable value |  |  | 0
Cumulative Depreciation |  |  | 0
Depreciation |  |  | 0
Interest on Loan
Gross Normative Loan |  |  | 0
Cumulative Repayment upto Previous Year |  |  | 0
Net Loan-Opening |  |  | 0
Addition due to Additional Capitalisation |  |  | 0
Repayment during the year |  |  | 0
Net Loan-Closing |  |  | 0
Average Loan |  |  | 0
Weighted Average Rate of Interest on Loan (%) |  |  | 9.98%
Interest |  |  | 0
Return on Equity
Gross Notional Equity |  |  | 0
Opening Equity |  |  | 0
Average Equity |  |  | 0
Rate of Return on Equity |  |  | 23.82%
Return on Equity |  |  | 0
Interest on Working Capital
Maintenance Spares | 15% of O&M |  | 18.2142
O & M expenses | 1 Months |  | 10.119
Receivables | 1.5 Months |  | 15.845 | 15.8438
Total |  |  | 44.1782
Interest | 12.05% |  | 5.3235
Annual Transmission Charges
Depreciation |  |  | 0
Interest on Loan |  |  | 0
Return on Equity |  |  | 0
Interest on Working Capital |  |  | 5.3235
O & M Expenses | 2 Bays, 94 MVA PTR capacity and 106 KM line |  | 121.428
Total |  |  | 126.7515
Norms for O&M Per Bay | 220 kV |  | 22.51
Norms for O&M Per Km | S/C |  | 0.503
Norms for O&M Per MVA (PTR) | 220 kV |  | 0.245
Note:- To calculate utilisation of PTR's capacity in MVA for each feeder, Total Sub Station PTR's capacity is divided to all the feeders connected at that Voltage level.

## Asset XI
Annexure - IX
Name of the Tr. System: | Asset- XI | TALLAPLLI-VTPS1:1
|  | COD: | 1984-06-30
CALCULATION OF ANNUAL TRANSMISSION CHARGES
(Rs. In lacs)
Rationalised cost of 400 kv line Rs lakh per ckt km | 0 | Life in years | 25
Transmission Line length in km | 125.14 | Voltage, kV | 220 kV S/C
Multiplication factor | 0.36
FY 2019-20
Gross Block |  |  | 0
Addition during 2014-19 due to Projected Additional Capitalisation |  |  | 0
Gross Block total |  |  | 0
Average Gross Block |  |  | 0
Depreciation
Rate of Depreciation(%) |  |  | 0%
Depreciable value |  | 0.9 | 0
Elapsed Life as on 31.03.2019 |  |  | 35
Balance useful life of the asset |  |  | 0
Remaining Depreciable value |  |  | 0
Cumulative Depreciation |  |  | 0
Depreciation |  |  | 0
Interest on Loan
Gross Normative Loan |  |  | 0
Cumulative Repayment upto Previous Year |  |  | 0
Net Loan-Opening |  |  | 0
Addition due to Additional Capitalisation |  |  | 0
Repayment during the year |  |  | 0
Net Loan-Closing |  |  | 0
Average Loan |  |  | 0
Weighted Average Rate of Interest on Loan (%) |  |  | 9.98%
Interest |  |  | 0
Return on Equity
Gross Notional Equity |  |  | 0
Opening Equity |  |  | 0
Average Equity |  |  | 0
Rate of Return on Equity |  |  | 23.82%
Return on Equity |  |  | 0
Interest on Working Capital
Maintenance Spares | 15% of O&M |  | 20.7953
O & M expenses | 1 Months |  | 11.553
Receivables | 1.5 Months |  | 18.09 | 18.0975
Total |  |  | 50.4383
Interest | 12.05% |  | 6.0778
Annual Transmission Charges
Depreciation |  |  | 0
Interest on Loan |  |  | 0
Return on Equity |  |  | 0
Interest on Working Capital |  |  | 6.0778
O & M Expenses | 2 Bays, 125 MVA PTR capacity and 125.14 KM line |  | 138.6354
Total |  |  | 144.7132
Norms for O&M Per Bay | 220 kV |  | 22.51
Norms for O&M Per Km | S/C |  | 0.503
Norms for O&M Per MVA (PTR) | 220 kV |  | 0.245
Note:- To calculate utilisation of PTR's capacity in MVA for each feeder, Total Sub Station PTR's capacity is divided to all the feeders connected at that Voltage level.

## Asset XII & XIII
Annexure - X
Name of the Tr. System: | Asset-XII and XIII | TALLAPLLI-VTPS1:2 & TALLAPLLI-VTPS1:3
|  | COD: | 2012-10-17
CALCULATION OF ANNUAL TRANSMISSION CHARGES
(Rs. In lacs)
Rationalised cost of 400 kv line Rs lakh per ckt km | 65.67 | Life in years | 25
Transmission Line length in km | 137.252 | Voltage, kV | 220 kV D/C
Multiplication factor | 0.57
FY 2019-20
Gross Block |  |  | 5137.6031
Addition during 2014-19 due to Projected Additional Capitalisation |  |  | 0
Gross Block total |  |  | 5137.6031
Average Gross Block |  |  | 5137.6031
Depreciation
Rate of Depreciation(%) |  |  | 5.28%
Depreciable value |  | 0.9 | 4623.8428
Elapsed Life as on 31.03.2019 |  |  | 6
Balance useful life of the asset |  |  | 19
Remaining Depreciable value |  |  | 2996.2502
Cumulative Depreciation |  |  | 1627.5927
Depreciation |  |  | 271.2654
Interest on Loan
Gross Normative Loan |  |  | 3596.3222
Cumulative Repayment upto Previous Year |  |  | 1627.5927
Net Loan-Opening |  |  | 1968.7295
Addition due to Additional Capitalisation |  |  | 0
Repayment during the year |  |  | 271.2654
Net Loan-Closing |  |  | 1697.4641
Average Loan |  |  | 1833.0968
Weighted Average Rate of Interest on Loan (%) |  |  | 9.98%
Interest |  |  | 182.9431
Return on Equity
Gross Notional Equity |  |  | 1541.2809
Opening Equity |  |  | 1541.2809
Average Equity |  |  | 1541.2809
Rate of Return on Equity |  |  | 23.82%
Return on Equity |  |  | 367.1973
Interest on Working Capital
Maintenance Spares | 15% of O&M |  | 40.8449
O & M expenses | 1 Months |  | 22.6916
Receivables | 1.5 Months |  | 139.7813 | 139.775
Total |  |  | 203.3177
Interest | 12.05% |  | 24.4998
Annual Transmission Charges
Depreciation |  |  | 271.2654
Interest on Loan |  |  | 182.9431
Return on Equity |  |  | 367.1973
Interest on Working Capital |  |  | 24.4998
O & M Expenses | 4 Bays, 250 MVA PTR capacity and 137.252 KM line |  | 272.299
Total |  |  | 1118.2046
Norms for O&M Per Bay | 220 kV |  | 22.51
Norms for O&M Per Km | D/C |  | 0.881
Norms for O&M Per MVA (PTR) | 220 kV |  | 0.245
Note:- To calculate utilisation of PTR's capacity in MVA for each feeder, Total Sub Station PTR's capacity is divided to all the feeders connected at that Voltage level.

## Asset XIV & XV
Annexure - XI
Name of the Tr. System: | Asset-XIV and XV | VTS1-CHILAAKALLU1:2 & VTS1-CHILAAKALLU1:1
|  | COD: | 1997-03-12
CALCULATION OF ANNUAL TRANSMISSION CHARGES
(Rs. In lacs)
Rationalised cost of 400 kv line Rs lakh per ckt km | 38.2 | Life in years | 25
Transmission Line length in km | 67.8 | Voltage, kV | 220 kV D/C
Multiplication factor | 0.57
FY 2019-20
Gross Block |  |  | 1476.2772
Addition during 2014-19 due to Projected Additional Capitalisation |  |  | 0
Gross Block total |  |  | 1476.2772
Average Gross Block |  |  | 1476.2772
Depreciation
Rate of Depreciation(%) |  |  | 2.049%
Depreciable value |  | 0.9 | 1328.6495
Elapsed Life as on 31.03.2019 |  |  | 22
Balance useful life of the asset |  |  | 3
Remaining Depreciable value |  |  | 90.757
Cumulative Depreciation |  |  | 1237.8925
Depreciation |  |  | 30.2523
Interest on Loan
Gross Normative Loan |  |  | 1033.394
Cumulative Repayment upto Previous Year |  |  | 1033.394
Net Loan-Opening |  |  | 0
Addition due to Additional Capitalisation |  |  | 0
Repayment during the year |  |  | 0
Net Loan-Closing |  |  | 0
Average Loan |  |  | 0
Weighted Average Rate of Interest on Loan (%) |  |  | 9.98%
Interest |  |  | 0
Return on Equity
Gross Notional Equity |  |  | 442.8832
Opening Equity |  |  | 442.8832
Average Equity |  |  | 442.8832
Rate of Return on Equity |  |  | 23.82%
Return on Equity |  |  | 105.5132
Interest on Working Capital
Maintenance Spares | 15% of O&M |  | 26.7063
O & M expenses | 1 Months |  | 14.8368
Receivables | 1.5 Months |  | 40.4637 | 40.4612
Total |  |  | 82.0068
Interest | 12.05% |  | 9.8818
Annual Transmission Charges
Depreciation |  |  | 30.2523
Interest on Loan |  |  | 0
Return on Equity |  |  | 105.5132
Interest on Working Capital |  |  | 9.8818
O & M Expenses | 4 Bays, 300 MVA PTR capacity and 67.8 KM line |  | 178.0418
Total |  |  | 323.6892
Norms for O&M Per Bay | 220 kV |  | 22.51
Norms for O&M Per Km | D/C |  | 0.881
Norms for O&M Per MVA (PTR) | 220 kV |  | 0.245
Note:- To calculate utilisation of PTR's capacity in MVA for each feeder, Total Sub Station PTR's capacity is divided to all the feeders connected at that Voltage level.

## Asset XVI
Annexure - XII
Name of the Tr. System: | Asset-XVI | VTS1-RENTACHNTHALA1:2
|  | COD: | 1984-06-30
CALCULATION OF ANNUAL TRANSMISSION CHARGES
(Rs. In lacs)
Rationalised cost of 400 kv line Rs lakh per ckt km | 0 | Life in years | 25
Transmission Line length in km | 111.49 | Voltage, kV | 220 kV S/C
Multiplication factor | 0.36
FY 2019-20
Gross Block |  |  | 0
Addition during 2014-19 due to Projected Additional Capitalisation |  |  | 0
Gross Block total |  |  | 0
Average Gross Block |  |  | 0
Depreciation
Rate of Depreciation(%) |  |  | 0%
Depreciable value |  | 0.9 | 0
Elapsed Life as on 31.03.2019 |  |  | 35
Balance useful life of the asset |  |  | 0
Remaining Depreciable value |  |  | 0
Cumulative Depreciation |  |  | 0
Depreciation |  |  | 0
Interest on Loan
Gross Normative Loan |  |  | 0
Cumulative Repayment upto Previous Year |  |  | 0
Net Loan-Opening |  |  | 0
Addition due to Additional Capitalisation |  |  | 0
Repayment during the year |  |  | 0
Net Loan-Closing |  |  | 0
Average Loan |  |  | 0
Weighted Average Rate of Interest on Loan (%) |  |  | 9.98%
Interest |  |  | 0
Return on Equity
Gross Notional Equity |  |  | 0
Opening Equity |  |  | 0
Average Equity |  |  | 0
Rate of Return on Equity |  |  | 23.82%
Return on Equity |  |  | 0
Interest on Working Capital
Maintenance Spares | 15% of O&M |  | 21.6029
O & M expenses | 1 Months |  | 12.0016
Receivables | 1.5 Months |  | 18.7925 | 18.7913
Total |  |  | 52.397
Interest | 12.05% |  | 6.3138
Annual Transmission Charges
Depreciation |  |  | 0
Interest on Loan |  |  | 0
Return on Equity |  |  | 0
Interest on Working Capital |  |  | 6.3138
O & M Expenses | 2 Bays, 175 MVA PTR capacity and 111.49 KM line |  | 144.0195
Total |  |  | 150.3333
Norms for O&M Per Bay | 220 kV |  | 22.51
Norms for O&M Per Km | S/C |  | 0.503
Norms for O&M Per MVA (PTR) | 220 kV |  | 0.245
Note:- To calculate utilisation of PTR's capacity in MVA for each feeder, Total Sub Station PTR's capacity is divided to all the feeders connected at that Voltage level.

## Asset XVII
Annexure - XIII
Name of the Tr. System: | Asset-XVII | KURNOOL1-BRAHMANKTKUR:1
|  | COD: | 2010-10-29
CALCULATION OF ANNUAL TRANSMISSION CHARGES
(Rs. In lacs)
Rationalised cost of 400 kv line Rs lakh per ckt km | 52.26 | Life in years | 25
Transmission Line length in km | 23.18 | Voltage, kV | 220 kV S/C
Multiplication factor | 0.36
FY 2019-20
Gross Block |  |  | 436.0992
Addition during 2014-19 due to Projected Additional Capitalisation |  |  | 0
Gross Block total |  |  | 436.0992
Average Gross Block |  |  | 436.0992
Depreciation
Rate of Depreciation(%) |  |  | 5.28%
Depreciable value |  | 0.9 | 392.4893
Elapsed Life as on 31.03.2019 |  |  | 8
Balance useful life of the asset |  |  | 17
Remaining Depreciable value |  |  | 208.281
Cumulative Depreciation |  |  | 184.2083
Depreciation |  |  | 23.026
Interest on Loan
Gross Normative Loan |  |  | 305.2695
Cumulative Repayment upto Previous Year |  |  | 184.2083
Net Loan-Opening |  |  | 121.0612
Addition due to Additional Capitalisation |  |  | 0
Repayment during the year |  |  | 23.026
Net Loan-Closing |  |  | 98.0351
Average Loan |  |  | 109.5481
Weighted Average Rate of Interest on Loan (%) |  |  | 9.98%
Interest |  |  | 10.9329
Return on Equity
Gross Notional Equity |  |  | 130.8298
Opening Equity |  |  | 130.8298
Average Equity |  |  | 130.8298
Rate of Return on Equity |  |  | 23.82%
Return on Equity |  |  | 31.1691
Interest on Working Capital
Maintenance Spares | 15% of O&M |  | 11.6603
O & M expenses | 1 Months |  | 6.4779
Receivables | 1.5 Months |  | 18.385 | 18.3837
Total |  |  | 36.5232
Interest | 12.05% |  | 4.4011
Annual Transmission Charges
Depreciation |  |  | 23.026
Interest on Loan |  |  | 10.9329
Return on Equity |  |  | 31.1691
Interest on Working Capital |  |  | 4.4011
O & M Expenses | 2 Bays, 62 MVA PTR capacity and 23.112 KM line |  | 77.7353
Total |  |  | 147.2644
Norms for O&M Per Bay | 220 kV |  | 22.51
Norms for O&M Per Km | S/C |  | 0.503
Norms for O&M Per MVA (PTR) | 220 kV |  | 0.245
Note:- To calculate utilisation of PTR's capacity in MVA for each feeder, Total Sub Station PTR's capacity is divided to all the feeders connected at that Voltage level.

## Asset XVIII & XIX
Annexure - XIV
Name of the Tr. System: | Asset - VIII & XIX | GAZUWAKA2-KALPAKKA1:1 & GAZUWAKA2-KALPAKKA1:2
|  | COD: | 2002-01-27
CALCULATION OF ANNUAL TRANSMISSION CHARGES
(Rs. In lacs)
Rationalised cost of 400 kv line Rs lakh per ckt km | 44.28 | Life in years | 25
Transmission Line length in km | 3.39 | Voltage, kV | 400 kV D/C
Multiplication factor | 1.39
FY 2019-20
Gross Block |  |  | 208.6518
Addition during 2014-19 due to Projected Additional Capitalisation |  |  | 0
Gross Block total |  |  | 208.6518
Average Gross Block |  |  | 208.6518
Depreciation
Rate of Depreciation(%) |  |  | 2.049%
Depreciable value |  | 0.9 | 187.7866
Elapsed Life as on 31.03.2019 |  |  | 17
Balance useful life of the asset |  |  | 8
Remaining Depreciable value |  |  | 34.2061
Cumulative Depreciation |  |  | 153.5806
Depreciation |  |  | 4.2758
Interest on Loan
Gross Normative Loan |  |  | 146.0563
Cumulative Repayment upto Previous Year |  |  | 146.0563
Net Loan-Opening |  |  | 0
Addition due to Additional Capitalisation |  |  | 0
Repayment during the year |  |  | 0
Net Loan-Closing |  |  | 0
Average Loan |  |  | 0
Weighted Average Rate of Interest on Loan (%) |  |  | 9.98%
Interest |  |  | 0
Return on Equity
Gross Notional Equity |  |  | 62.5955
Opening Equity |  |  | 62.5955
Average Equity |  |  | 62.5955
Rate of Return on Equity |  |  | 23.82%
Return on Equity |  |  | 14.9129
Interest on Working Capital
Maintenance Spares | 15% of O&M |  | 23.968
O & M expenses | 1 Months |  | 13.3155
Receivables | 1.5 Months |  | 23.27 | 23.2787
Total |  |  | 60.5535
Interest | 12.05% |  | 7.2967
Annual Transmission Charges
Depreciation |  |  | 4.2758
Interest on Loan |  |  | 0
Return on Equity |  |  | 14.9129
Interest on Working Capital |  |  | 7.2967
O & M Expenses | 4 Bays, 39 MVA PTR capacity and 3.39 KM line |  | 159.7866
Total |  |  | 186.2719
Norms for O&M Per Bay | 400 kV |  | 32.15
Norms for O&M Per Km | D/C |  | 0.881
Norms for O&M Per MVA (PTR) | 400 kV |  | 0.358
Note:- To calculate utilisation of PTR's capacity in MVA for each feeder, Total Sub Station PTR's capacity is devided to all the feeders connected at that Voltage level.